## Slide 1: Noise Removal

## Slide 2
Patient-specific supervised learning
Raw Signal
Denoising with DWT
Split into
3 seconds
Calculate FFT coefficients
Base process
for signal input
MIT-BIH
Noise Generator
CNN Network
Analyzable
Synthetic
noise
Pre-trained
model
CNN Network
Patch 1 Hour Signal
Noise Generator
Analyzable
Synthetic noise
Analyzable
Noise
Patient-specific
model

## Slide 3
How to synthesize noise
주파수 대역 별 Normal signal 분해
High frequency noise extraction
QRS Frequency bands)
White Noise generation
Low frequency noise extraction
Synthesize
Synthesize
Scaling

## Slide 4
Synthetic noise

## Slide 5: R-peak detection

## Slide 6
QRS complex

## Slide 7
2-stage detection
Apply Pan-Tompkins
Detect periods
missing R-peaks
Apply Elgendi

## Slide 8
Stage 1: Pan-Tompkins method

## Slide 9
Stage 1: Pan-Tompkins method

## Slide 10
Stage 2: Elgendi method

## Slide 11
Stage 2: Elgendi method

## Slide 12
Post-processing
False R-peak
Compare the magnitude of derivates
Threshold of Fake R-peak
1. Marginal derivative peaks * 0.05 >
2. 60th percentiles of Marginal 10 Peaks *0.05 >
when 1, 2 are both satisfied